|  |  |  |
| --- | --- | --- |
| **Instrument File Field Location** | **Universal Template File Field Location** | **Special Notes** |
| Cell F2 | Column I  (User Defined 1) | The value in Cell F2 should be mapped to Column I for every result. |
| Column C, beginning at cell C7 | Column C (Measured Value) |  |
| Column A | Column A (Aliquot) |  |
| Cell C6 | Column B (Analyte Identifier) | Replace “Flouresence” with “Raw Fluorescence” and apply to Column B for every result. |

Thank you,

R. Logan Osborne