## Raw Data & Recovery
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
Raw Data & Recovery
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4= | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4= | Comments
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | % recovery | % recovery | % recovery | % recovery | % recovery | % recovery | % recovery
DI | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Std 1 | 0.0501 | 0.5154 | 0.0459 | 0.0523 | 0.0494 | 0.0497 | 0.5079
Std 2 | 0.0995 | 1.0173 | 0.0827 | 0.0947 | 0.0884 | 0.0938 | 1.0084
Std 3 | 0.1985 | 1.9435 | 0.2089 | 0.2065 | 0.2033 | 0.2047 | 2.0028
Std 4 | 0.4899 | 4.9028 | 0.5229 | 0.495 | 0.5036 | 0.502 | 4.9668
Std 5 | 1.0081 | 10.0779 | 0.9843 | 1.0022 | 0.9984 | 0.9981 | 10.0204
Std 6 | 1.9986 | 19.9888 | 2.0022 | 1.9997 | 2.0002 | 2.0003 | 19.9972
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCC#3 | 0.1998 | 1.9479 | 0.2143 | 0.2121 | 0.2087 | 0.2047 | 2.0213 | 99.9 | 97.395 | 107.15 | 106.05 | 104.35 | 102.35 | 101.065
2nd Source | 0.4075 | 0.6259 | 0.6108 | 2.0176 | 0.4721 | 1.02 | 3.029 | 101.875 | 104.3167 | 100.345 | 100.88 | 104.5394 | 104.2945 | 100.9667
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
212386d20 | 0 | 9.4739 | 0 | 0 | 0.4972 | 0 | 7.4731
212387d20 | 0 | 9.4726 | 0 | 0 | 0.4939 | 0 | 7.5416
212388d20 | 0 | 9.5192 | 0 | 0 | 0.4956 | 0 | 7.539
212389d20 | 0 | 9.4226 | 0 | 0 | 0.4895 | 0 | 7.4648
212390d20 | 0 | 9.4466 | 0 | 0 | 0.4885 | 0 | 7.5121
212474d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212475d20 | 0 | 9.4763 | 0 | 0 | 0.4877 | 0 | 7.4811
212476d20 | 0 | 9.4484 | 0 | 0 | 0.4937 | 0 | 7.4726
212477d20 | 0 | 9.4488 | 0 | 0 | 0.4806 | 0 | 7.4898
212478d20 | 0 | 9.3499 | 0 | 0 | 0.4824 | 0 | 7.4307
212478d20DUP | 0 | 9.3493 | 0 | 0 | 0.4846 | 0 | 7.4322 | #DIV/0! | 0.0016043 | #DIV/0! | #DIV/0! | 0.11375 | #DIV/0! | 0.0050461
212478d20SPK | 0.192 | 11.4712 | 0.2177 | 0.2016 | 0.6942 | 0.199 | 9.4806 | 96 | 106.08 | 108.85 | 100.8 | 105.35 | 99.5 | 102.4575
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.1922 | 1.9199 | 0.2079 | 0.1923 | 0.207 | 0.2033 | 1.9959 | 96.1 | 95.995 | 103.95 | 96.15 | 103.5 | 101.65 | 99.795
CCC#3 | 0.1974 | 1.9479 | 0.2044 | 0.2016 | 0.2053 | 0.203 | 1.9984 | 98.7 | 97.395 | 102.2 | 100.8 | 102.65 | 101.5 | 99.92
212479d20 | 0 | 9.4556 | 0 | 0 | 0.4948 | 0 | 7.5358
212530d20 | 0 | 9.5218 | 0 | 0 | 0.4924 | 0 | 7.5083
212531d20 | 0 | 9.4836 | 0 | 0 | 0.4819 | 0 | 7.4413
212532d20 | 0 | 9.523 | 0 | 0 | 0.4974 | 0 | 7.5279
212533d20 | 0 | 9.5171 | 0 | 0 | 0.4879 | 0 | 7.5133
212534d20 | 0 | 9.5768 | 0 | 0 | 0.4933 | 0 | 7.5916
212499d20 | 0 | 2.3209 | 0 | 0 | 0.2156 | 0.0295 | 0.8371
212500d20 | 0 | 2.3109 | 0 | 0 | 0.209 | 0.0211 | 0.8349
212501d20 | 0.0777 | 1.0785 | 0 | 0 | 0.1069 | 0 | 1.0456
212502d20 | 0.0712 | 1.0916 | 0 | 0 | 0.1059 | 0.0202 | 1.0866
212502d20DUP | 0.0725 | 1.0836 | 0 | 0 | 0.1054 | 0.0143 | 1.0725 | 0.45233 | 0.18389 | #DIV/0! | #DIV/0! | 0.11832 | 8.5507 | 0.32652
212502d20SPK | 0.2635 | 3.0266 | 0.2095 | 0.1974 | 0.3101 | 0.2261 | 3.1129 | 95.825 | 96.95 | 104.75 | 98.7 | 102.225 | 104.425 | 101.6675
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.1967 | 1.9246 | 0.2183 | 0.1992 | 0.2047 | 0.2128 | 1.9915 | 98.35 | 96.23 | 109.15 | 99.6 | 102.35 | 106.4 | 99.575
CCC#3 | 0.1941 | 1.9536 | 0.2079 | 0.2051 | 0.2018 | 0.1977 | 2.0029 | 97.05 | 97.68 | 103.95 | 102.55 | 100.9 | 98.85 | 100.145
2nd Source | 0.401 | 0.6141 | 0.607 | 2.0007 | 0.4694 | 1.0121 | 3.0244 | 100.25 | 102.35 | 99.7207 | 100.035 | 103.9415 | 103.4867 | 100.8133
212511d10 | 0 | 12.7891 | 0 | 0 | 0 | 0 | 0.7405
212512d10 | 0 | 12.695 | 0 | 0 | 0 | 0 | 0.7485
212462d10 | 0 | 3.8724 | 0 | 0 | 0 | 0 | 3.0569
212463d10 | 0 | 0.866 | 0.016 | 0.0139 | 0.048 | 0 | 0.8389
212464d10 | 0.034 | 3.2511 | 0 | 0 | 0.067 | 0 | 4.0744
212465d10 | 0.0432 | 5.1701 | 0 | 0 | 0.1058 | 0 | 8.0538
212466d10 | 0.0583 | 5.4606 | 0 | 0 | 0.0566 | 0 | 10.8682
212467d10 | 0.0268 | 3.5994 | 0 | 0 | 0 | 0 | 2.0583
212468d10 | 0.0505 | 4.6887 | 0 | 0 | 0 | 0 | 7.7754
212469d10 | 0.0236 | 1.6746 | 0 | 0 | 0 | 0 | 1.3721
212469d10DUP | 0.0228 | 1.6812 | 0 | 0 | 0 | 0 | 1.3837 | 0.86207 | 0.098337 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.21047
212469d10SPK | 0.2182 | 3.6508 | 0.2192 | 0.2003 | 0.2141 | 0.1941 | 3.4087 | 97.5 | 98.645 | 109.6 | 100.15 | 107.05 | 97.05 | 101.54
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.2003 | 1.9285 | 0.2203 | 0.2021 | 0.2074 | 0.207 | 1.9959 | 100.15 | 96.425 | 110.15 | 101.05 | 103.7 | 103.5 | 99.795
CCC#3 | 0.1954 | 1.9614 | 0.2095 | 0.2 | 0.2064 | 0.2034 | 2.0264 | 97.7 | 98.07 | 104.75 | 100 | 103.2 | 101.7 | 101.32
212470d10 | 0.0216 | 1.6534 | 0 | 0 | 0.0393 | 0 | 1.2811
212471d10 | 0.0212 | 1.8224 | 0 | 0 | 0.0706 | 0 | 1.5358
212472d10 | 0.0253 | 2.5508 | 0 | 0 | 0.2223 | 0.0264 | 2.217
212473d10 | 0.0346 | 4.478 | 0 | 0 | 0.4106 | 0.0583 | 3.1179
212473d10DUP | 0.035 | 4.4872 | 0 | 0 | 0.4113 | 0.0628 | 3.124 | 0.28736 | 0.05131 | #DIV/0! | #DIV/0! | 0.042584 | 1.858 | 0.048863
212473d10SPK | 0.2256 | 6.4868 | 0.2161 | 0.2089 | 0.6023 | 0.2635 | 5.0944 | 95.4 | 100.21 | 108.05 | 104.45 | 95.675 | 101.475 | 98.6725
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.2008 | 1.93 | 0.2145 | 0.2021 | 0.207 | 0.2076 | 2.0066 | 100.4 | 96.5 | 107.25 | 101.05 | 103.5 | 103.8 | 100.33
CCC#3 | 0.1995 | 1.9431 | 0.2138 | 0.2016 | 0.2022 | 0.2045 | 2.0108 | 99.75 | 97.155 | 106.9 | 100.8 | 101.1 | 102.25 | 100.54
2nd Source | 0.4081 | 0.6191 | 0.5736 | 2.0029 | 0.4762 | 1.0235 | 3.0684 | 102.025 | 103.1833 | 94.2336 | 100.145 | 105.4473 | 104.6524 | 102.28
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
Corrected for Dilution
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
DI | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
212386d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212387d20 | 0 | 189.478 | 0 | 0 | 9.944 | 0 | 149.462
212388d20 | 0 | 189.452 | 0 | 0 | 9.878 | 0 | 150.832
212389d20 | 0 | 190.384 | 0 | 0 | 9.912 | 0 | 150.78
212390d20 | 0 | 188.452 | 0 | 0 | 9.79 | 0 | 149.296
212474d20 | 0 | 188.932 | 0 | 0 | 9.77 | 0 | 150.242
212475d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212476d20 | 0 | 189.526 | 0 | 0 | 9.754 | 0 | 149.622
212477d20 | 0 | 188.968 | 0 | 0 | 9.874 | 0 | 149.452
212478d20 | 0 | 188.976 | 0 | 0 | 9.612 | 0 | 149.796
212478d20DUP | 0 | 186.998 | 0 | 0 | 9.648 | 0 | 148.614
212478d20SPK | 0 | 186.986 | 0 | 0 | 9.692 | 0 | 148.644
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.1922 | 1.9199 | 0.2079 | 0.1923 | 0.207 | 0.2033 | 1.9959
CCC#3 | 0.1974 | 1.9479 | 0.2044 | 0.2016 | 0.2053 | 0.203 | 1.9984
212479d20 | 3.948 | 38.958 | 4.088 | 4.032 | 4.106 | 4.06 | 39.968
212530d20 | 0 | 189.112 | 0 | 0 | 9.896 | 0 | 150.716
212531d20 | 0 | 190.436 | 0 | 0 | 9.848 | 0 | 150.166
212532d20 | 0 | 189.672 | 0 | 0 | 9.638 | 0 | 148.826
212533d20 | 0 | 190.46 | 0 | 0 | 9.948 | 0 | 150.558
212534d20 | 0 | 190.342 | 0 | 0 | 9.758 | 0 | 150.266
212499d20 | 0 | 191.536 | 0 | 0 | 9.866 | 0 | 151.832
212500d20 | 0 | 46.418 | 0 | 0 | 4.312 | 0.59 | 16.742
212501d20 | 0 | 46.218 | 0 | 0 | 4.18 | 0.422 | 16.698
212502d20 | 1.554 | 21.57 | 0 | 0 | 2.138 | 0 | 20.912
212502d20DUP | 1.424 | 21.832 | 0 | 0 | 2.118 | 0.404 | 21.732
212502d20SPK | 1.45 | 21.672 | 0 | 0 | 2.108 | 0.286 | 21.45
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.1967 | 1.9246 | 0.2183 | 0.1992 | 0.2047 | 0.2128 | 1.9915
CCC#3 | 0.1941 | 1.9536 | 0.2079 | 0.2051 | 0.2018 | 0.1977 | 2.0029
2nd Source | 0.401 | 0.6141 | 0.607 | 2.0007 | 0.4694 | 1.0121 | 3.0244
212511d10 | 4.01 | 6.141 | 6.07 | 20.007 | 4.694 | 10.121 | 30.244
212512d10 | 0 | 127.891 | 0 | 0 | 0 | 0 | 7.405
212462d10 | 0 | 126.95 | 0 | 0 | 0 | 0 | 7.485
212463d10 | 0 | 38.724 | 0 | 0 | 0 | 0 | 30.569
212464d10 | 0 | 8.66 | 0.16 | 0.139 | 0.48 | 0 | 8.389
212465d10 | 0.34 | 32.511 | 0 | 0 | 0.67 | 0 | 40.744
212466d10 | 0.432 | 51.701 | 0 | 0 | 1.058 | 0 | 80.538
212467d10 | 0.583 | 54.606 | 0 | 0 | 0.566 | 0 | 108.682
212468d10 | 0.268 | 35.994 | 0 | 0 | 0 | 0 | 20.583
212469d10 | 0.505 | 46.887 | 0 | 0 | 0 | 0 | 77.754
212469d10DUP | 0.236 | 16.746 | 0 | 0 | 0 | 0 | 13.721
212469d10SPK | 0.228 | 16.812 | 0 | 0 | 0 | 0 | 13.837
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.2003 | 1.9285 | 0.2203 | 0.2021 | 0.2074 | 0.207 | 1.9959
CCC#3 | 0.1954 | 1.9614 | 0.2095 | 0.2 | 0.2064 | 0.2034 | 2.0264
212470d10 | 1.954 | 19.614 | 2.095 | 2 | 2.064 | 2.034 | 20.264
212471d10 | 0.216 | 16.534 | 0 | 0 | 0.393 | 0 | 12.811
212472d10 | 0.212 | 18.224 | 0 | 0 | 0.706 | 0 | 15.358
212473d10 | 0.253 | 25.508 | 0 | 0 | 2.223 | 0.264 | 22.17
212473d10DUP | 0.346 | 44.78 | 0 | 0 | 4.106 | 0.583 | 31.179
212473d10SPK | 0.35 | 44.872 | 0 | 0 | 4.113 | 0.628 | 31.24
DI | 0 | 0 | 0 | 0 | 0 | 0 | 0
DI SPK | 0.2008 | 1.93 | 0.2145 | 0.2021 | 0.207 | 0.2076 | 2.0066
CCC#3 | 0.1995 | 1.9431 | 0.2138 | 0.2016 | 0.2022 | 0.2045 | 2.0108
2nd Source | 0.4081 | 0.6191 | 0.5736 | 2.0029 | 0.4762 | 1.0235 | 3.0684
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.

## Results
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
Corrected for Dilution
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
212386d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212387d20 | 0 | 189.478 | 0 | 0 | 9.944 | 0 | 149.462
212388d20 | 0 | 189.452 | 0 | 0 | 9.878 | 0 | 150.832
212389d20 | 0 | 190.384 | 0 | 0 | 9.912 | 0 | 150.78
212390d20 | 0 | 188.452 | 0 | 0 | 9.79 | 0 | 149.296
212474d20 | 0 | 188.932 | 0 | 0 | 9.77 | 0 | 150.242
212475d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212476d20 | 0 | 189.526 | 0 | 0 | 9.754 | 0 | 149.622
212477d20 | 0 | 188.968 | 0 | 0 | 9.874 | 0 | 149.452
212478d20 | 0 | 188.976 | 0 | 0 | 9.612 | 0 | 149.796
212478d20DUP | 0 | 186.998 | 0 | 0 | 9.648 | 0 | 148.614
212479d20 | 3.948 | 38.958 | 4.088 | 4.032 | 4.106 | 4.06 | 39.968
212530d20 | 0 | 189.112 | 0 | 0 | 9.896 | 0 | 150.716
212531d20 | 0 | 190.436 | 0 | 0 | 9.848 | 0 | 150.166
212532d20 | 0 | 189.672 | 0 | 0 | 9.638 | 0 | 148.826
212533d20 | 0 | 190.46 | 0 | 0 | 9.948 | 0 | 150.558
212534d20 | 0 | 190.342 | 0 | 0 | 9.758 | 0 | 150.266
212499d20 | 0 | 191.536 | 0 | 0 | 9.866 | 0 | 151.832
212500d20 | 0 | 46.418 | 0 | 0 | 4.312 | 0.59 | 16.742
212501d20 | 0 | 46.218 | 0 | 0 | 4.18 | 0.422 | 16.698
212502d20 | 1.554 | 21.57 | 0 | 0 | 2.138 | 0 | 20.912
212502d20DUP | 1.424 | 21.832 | 0 | 0 | 2.118 | 0.404 | 21.732
212511d10 | 4.01 | 6.141 | 6.07 | 20.007 | 4.694 | 10.121 | 30.244
212512d10 | 0 | 127.891 | 0 | 0 | 0 | 0 | 7.405
212462d10 | 0 | 126.95 | 0 | 0 | 0 | 0 | 7.485
212463d10 | 0 | 38.724 | 0 | 0 | 0 | 0 | 30.569
212464d10 | 0 | 8.66 | 0.16 | 0.139 | 0.48 | 0 | 8.389
212465d10 | 0.34 | 32.511 | 0 | 0 | 0.67 | 0 | 40.744
212466d10 | 0.432 | 51.701 | 0 | 0 | 1.058 | 0 | 80.538
212467d10 | 0.583 | 54.606 | 0 | 0 | 0.566 | 0 | 108.682
212468d10 | 0.268 | 35.994 | 0 | 0 | 0 | 0 | 20.583
212469d10 | 0.505 | 46.887 | 0 | 0 | 0 | 0 | 77.754
212469d10DUP | 0.236 | 16.746 | 0 | 0 | 0 | 0 | 13.721
212470d10 | 1.954 | 19.614 | 2.095 | 2 | 2.064 | 2.034 | 20.264
212471d10 | 0.216 | 16.534 | 0 | 0 | 0.393 | 0 | 12.811
212472d10 | 0.212 | 18.224 | 0 | 0 | 0.706 | 0 | 15.358
212473d10 | 0.253 | 25.508 | 0 | 0 | 2.223 | 0.264 | 22.17
212473d10DUP | 0.346 | 44.78 | 0 | 0 | 4.106 | 0.583 | 31.179
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.

## Submitters
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
|  |  | Corrected for Dilution |  |  | Submitter: Pressman
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
212386d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212387d20 | 0 | 189.478 | 0 | 0 | 9.944 | 0 | 149.462
212388d20 | 0 | 189.452 | 0 | 0 | 9.878 | 0 | 150.832
212389d20 | 0 | 190.384 | 0 | 0 | 9.912 | 0 | 150.78
212390d20 | 0 | 188.452 | 0 | 0 | 9.79 | 0 | 149.296
212474d20 | 0 | 188.932 | 0 | 0 | 9.77 | 0 | 150.242
212475d20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212476d20 | 0 | 189.526 | 0 | 0 | 9.754 | 0 | 149.622
212477d20 | 0 | 188.968 | 0 | 0 | 9.874 | 0 | 149.452
212478d20 | 0 | 188.976 | 0 | 0 | 9.612 | 0 | 149.796
212478d20DUP | 0 | 186.998 | 0 | 0 | 9.648 | 0 | 148.614
212479d20 | 3.948 | 38.958 | 4.088 | 4.032 | 4.106 | 4.06 | 39.968
212530d20 | 0 | 189.112 | 0 | 0 | 9.896 | 0 | 150.716
212531d20 | 0 | 190.436 | 0 | 0 | 9.848 | 0 | 150.166
212532d20 | 0 | 189.672 | 0 | 0 | 9.638 | 0 | 148.826
212533d20 | 0 | 190.46 | 0 | 0 | 9.948 | 0 | 150.558
212534d20 | 0 | 190.342 | 0 | 0 | 9.758 | 0 | 150.266
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
|  |  | Corrected for Dilution |  |  | Submitter: Mash
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
212462d10 | 0 | 126.95 | 0 | 0 | 0 | 0 | 7.485
212463d10 | 0 | 38.724 | 0 | 0 | 0 | 0 | 30.569
212464d10 | 0 | 8.66 | 0.16 | 0.139 | 0.48 | 0 | 8.389
212465d10 | 0.34 | 32.511 | 0 | 0 | 0.67 | 0 | 40.744
212466d10 | 0.432 | 51.701 | 0 | 0 | 1.058 | 0 | 80.538
212467d10 | 0.583 | 54.606 | 0 | 0 | 0.566 | 0 | 108.682
212468d10 | 0.268 | 35.994 | 0 | 0 | 0 | 0 | 20.583
212469d10 | 0.505 | 46.887 | 0 | 0 | 0 | 0 | 77.754
212469d10DUP | 0.236 | 16.746 | 0 | 0 | 0 | 0 | 13.721
212470d10 | 1.954 | 19.614 | 2.095 | 2 | 2.064 | 2.034 | 20.264
212471d10 | 0.216 | 16.534 | 0 | 0 | 0.393 | 0 | 12.811
212472d10 | 0.212 | 18.224 | 0 | 0 | 0.706 | 0 | 15.358
212473d10 | 0.253 | 25.508 | 0 | 0 | 2.223 | 0.264 | 22.17
212473d10DUP | 0.346 | 44.78 | 0 | 0 | 4.106 | 0.583 | 31.179
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
|  |  | Corrected for Dilution |  |  | Submitter: Donahue
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
212499d20 | 0 | 191.536 | 0 | 0 | 9.866 | 0 | 151.832
212500d20 | 0 | 46.418 | 0 | 0 | 4.312 | 0.59 | 16.742
212501d20 | 0 | 46.218 | 0 | 0 | 4.18 | 0.422 | 16.698
212502d20 | 1.554 | 21.57 | 0 | 0 | 2.138 | 0 | 20.912
212502d20DUP | 1.424 | 21.832 | 0 | 0 | 2.118 | 0.404 | 21.732
"0" = non detected or n.a.
n.a. = not applicable or not analyzed (interference, outside cal curve,
or other problems).
Blue = Results near or less than calibration minimum.
Red = Results near or exceeds calibration max.
100uL injection loop.
d indicates dilution factor, d20 = 1 into 20.
2022-07-06 Anions & PFAS 212386-212534
high sulfate standard
|  |  | Corrected for Dilution |  |  | Submitter: Beaulieu
Sample | F- | Cl- | NO2- (N) | Br- | NO3- (N) | PO43- (P) | SO4=
ID | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
212511d10 | 4.01 | 6.141 | 6.07 | 20.007 | 4.694 | 10.121 | 30.244
212512d10 | 0 | 127.891 | 0 | 0 | 0 | 0 | 7.405