## DIC WHETS May 2021
[Header]
System | TOC-VCPH
File Ver. | 2.1
User
Date of Creation | 2021-05-27 12:54
Comments
[System]
Detector | Combustion
Catalyst | Regular Sensitivity
ASI Tray | 40 mL Vials
[Data]
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Manual Dilution | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Conc. | Result | Excluded | Inj. Vol.
Unknown | IC | DIC std | 50mg/l | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:25 | 1 | 1 | IC | 201 | 50.08 | IC:50.07mg/L | 0 | 50
Unknown | IC | DIC std | 50mg/l | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:27 | 1 | 2 | IC | 200.9 | 50.06 | IC:50.07mg/L | 0 | 50
Unknown | IC | DI water |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:31 | 1 | 1 | IC | 0.2962 | 0.0822 | IC:0.06791mg/L | 0 | 50
Unknown | IC | DI water |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:32 | 1 | 2 | IC | 0.1815 | 0.05362 | IC:0.06791mg/L | 0 | 50
Unknown | IC | 1 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:37 | 1 | 1 | IC | 70.84 | 17.66 | IC:17.69mg/L | 0 | 50
Unknown | IC | 1 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:39 | 1 | 2 | IC | 71.13 | 17.73 | IC:17.69mg/L | 0 | 50
Unknown | IC | 2 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:44 | 1 | 1 | IC | 79.87 | 19.91 | IC:19.88mg/L | 0 | 50
Unknown | IC | 2 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:45 | 1 | 2 | IC | 79.65 | 19.85 | IC:19.88mg/L | 0 | 50
Unknown | IC | 3 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:50 | 1 | 1 | IC | 86.94 | 21.67 | IC:21.68mg/L | 0 | 50
Unknown | IC | 3 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:52 | 1 | 2 | IC | 87.02 | 21.69 | IC:21.68mg/L | 0 | 50
Unknown | IC | 4 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:57 | 1 | 1 | IC | 89.68 | 22.35 | IC:22.25mg/L | 0 | 50
Unknown | IC | 4 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 14:59 | 1 | 2 | IC | 88.89 | 22.15 | IC:22.25mg/L | 0 | 50
Unknown | IC | 5 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:03 | 1 | 1 | IC | 68.09 | 16.97 | IC:16.95mg/L | 0 | 50
Unknown | IC | 5 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:05 | 1 | 2 | IC | 67.95 | 16.94 | IC:16.95mg/L | 0 | 50
Unknown | IC | 6 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:09 | 1 | 1 | IC | 74.59 | 18.59 | IC:18.67mg/L | 0 | 50
Unknown | IC | 6 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:11 | 1 | 2 | IC | 75.21 | 18.74 | IC:18.67mg/L | 0 | 50
Unknown | IC | 7 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:16 | 1 | 1 | IC | 88.65 | 22.09 | IC:22.11mg/L | 0 | 50
Unknown | IC | 7 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:18 | 1 | 2 | IC | 88.81 | 22.13 | IC:22.11mg/L | 0 | 50
Unknown | IC | 8 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:22 | 1 | 1 | IC | 90.54 | 22.56 | IC:22.73mg/L | 0 | 50
Unknown | IC | 8 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:24 | 1 | 2 | IC | 91.91 | 22.9 | IC:22.73mg/L | 0 | 50
Unknown | IC | 9 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:29 | 1 | 1 | IC | 78.47 | 19.56 | IC:19.51mg/L | 0 | 50
Unknown | IC | 9 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:31 | 1 | 2 | IC | 78.13 | 19.47 | IC:19.51mg/L | 0 | 50
Unknown | IC | 10 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:35 | 1 | 1 | IC | 91.78 | 22.87 | IC:22.87mg/L | 0 | 50
Unknown | IC | 10 |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:37 | 1 | 2 | IC | 91.78 | 22.87 | IC:22.87mg/L | 0 | 50
Unknown | IC | DIC std fr curve | 50mg/l | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:42 | 1 | 1 | IC | 199 | 49.58 | IC:49.60mg/L | 0 | 50
Unknown | IC | DIC std fr curve | 50mg/l | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:44 | 1 | 2 | IC | 199.1 | 49.61 | IC:49.60mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:47 | 1 | 1 | IC | 0.4789 | 0.1277 | IC:0.1147mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:48 | 1 | 2 | IC | 0.3747 | 0.1018 | IC:0.1147mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:50 | 1 | 1 | IC | 0.2882 | 0.0802 | IC:0.07030mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:52 | 1 | 2 | IC | 0.2087 | 0.0604 | IC:0.07030mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:54 | 1 | 1 | IC | 0.2624 | 0.07378 | IC:0.06933mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:55 | 1 | 2 | IC | 0.2267 | 0.06488 | IC:0.06933mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:57 | 1 | 1 | IC | 0.2797 | 0.07809 | IC:0.06786mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 15:58 | 1 | 2 | IC | 0.1976 | 0.05763 | IC:0.06786mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 16:01 | 1 | 1 | IC | 0.306 | 0.08464 | IC:0.06919mg/L | 0 | 50
Unknown | IC | rinse |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.cal | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal | 1 |  | 2021-05-27 16:02 | 1 | 2 | IC | 0.182 | 0.05375 | IC:0.06919mg/L | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:01 | 1 | 1 | IC | 202.6 | 50 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:03 | 1 | 2 | IC | 199.2 | 50 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:09 | 2 | 1 | IC | 99.67 | 25 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:11 | 2 | 2 | IC | 100.2 | 25 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:17 | 3 | 1 | IC | 49.74 | 12.5 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:19 | 3 | 2 | IC | 50.11 | 12.5 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:24 | 4 | 1 | IC | 13.59 | 3.333 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:26 | 4 | 2 | IC | 13.42 | 3.333 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:32 | 5 | 1 | IC | 10.29 | 2.5 |  | 0 | 50
Standard | IC |  |  | C:\TOC3201\CalCurves\DIC WHETS May 2021 RJ.2021_05_27_12_55_09.cal |  | 1 |  | 2021-05-27 13:33 | 5 | 2 | IC | 10.15 | 2.5 |  | 0 | 50

## Sheet1
WHETS DIC May 28, 2021
DIC WHETS
Sample Name | Sample ID | mg/l |  | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 | 2019-02-01 | 2019-03-01 | 2019-04-19 | 2019-05-19 | 2019-06-01 | 2019-07-01 | 2019-08-19 | 2019-09-01 | 2019-10-19 | 2019-11-19 | 2019-12-19 | 2020-01-20 | 2020-02-20 | 2020-03-20 | 2020-07-20 | 2020-08-20 | 2020-09-01 | 2020-10-01 | 2020-11-20 | 2020-12-20 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01
DIC std | 50mg/l | 50.07 | 1 | 20.64 | 16.54 | 14.83 | 20.49 | 19.73 | 22.48 | 19.7 | 18.6 | 16.45 | 16.78 | 14.01 | 12.77 | 13.68 | 17.36 | 21.56 | 20.94 | 21.73 | 19.03 | 20.66 | 15.28 | 19.65 | 18.53 | 18.48 | 23.35 | 23.65 | 21.44 | 20.65 | 19.29 | 20.37 | 13.73 | 20.36 | 16.9 | 20.76 | 17.69
DI water |  | 0.06791 | 2 | 21.63 | 17.69 | 19.18 | 21.45 | 21.01 | 23.27 | 20.63 | 19.24 | 18.05 | 20.09 | 19.6 | 15.83 | 15.14 | 17.83 | 21.67 | 21.81 | 22.22 | 21.31 | 21.13 | 20.38 | 21.28 | 19.57 |  | 23.25 | 23.05 | 21.95 | 21.11 | 20.71 | 18.8 | 21.57 | 21.69 | 20.26 | 21.85 | 19.88
1 |  | 17.69 | 3 | 20.93 | 18.42 | 19.25 | 22.79 | 21.93 | 23.33 | 20.72 | 20.95 | 19.32 | 21.16 | 20.77 | 19.34 | 17.3 | 19.03 | 22.52 | 22.14 | 23.07 | 21.51 | 21.59 | 21.08 | 21.75 | 20.76 | 21.06 | 23.71 | 23.24 | 22.24 | 21.71 | 20.62 | 20.65 | 22.77 | 22.47 | 18.78 | 22.15 | 21.68
2 |  | 19.88 | 4 | 22.33 | 17.86 | 19.93 | 23.11 | 21.93 | 22.4 | 21.89 | 20.46 | 19.3 | 21.33 | 20.92 | 20.09 | 19.76 | 20.08 | 22.25 | 22.39 | 23.24 | 21.78 | 22.41 | 21.76 | 22.06 | 21.08 |  | 23.57 | 23.29 | 22.36 | 21.9 | 21.11 | 21.01 | 23 | 23.08 | 21.41 | 23.12 | 22.25
3 |  | 21.68 | 5 | 20.55 | 16.96 | 16.14 | 21.67 | 19.81 | 24.47 | 18.94 | 16.78 | 18.8 | 13.96 | 13.28 | 19.16 | 18.91 | 14.42 | 18.76 | 19.54 | 19.15 | 22.24 | 21.69 | 18.11 | 19.91 | 16.32 | 19.55 | 23.45 | 21.36 | 21.3 | 19.89 | 19.14 | 20.21 | 15.43 | 17.7 | 11.24 | 18.48 | 16.95
4 |  | 22.25 | 6 | 21.77 | 17.54 | 19.53 | 21.13 | 21.68 | 21.59 | 21.22 | 18.14 | 20.1 | 19.83 | 20.55 | 19.26 | 18.47 | 16.74 | 17.27 | 20.1 | 23.15 | 20.68 | 20.25 | 20.91 | 21.76 | 17.76 | 19.33 | 22.49 | 21.7 | 21.87 | 21.93 | 20.49 | 20.37 | 22.9 | 21.89 | 14.95 | 21.06 | 18.67
5 |  | 16.95 | 7 | 22.15 | 17.83 | 20.32 | 23.45 | 22.5 | 23.5 | 21.62 | 20.88 | 20.13 | 21.17 | 20.88 | 19.74 | 17.45 | 19.69 | 20.85 | 22.41 | 22.27 | 22.07 | 22.51 | 21.54 | 21.91 | 20.98 | 21.17 | 23.83 | 23.43 | 22.45 | 21.93 | 20.78 | 21.05 | 23.11 | 23.17 | 19.64 | 22.96 | 22.11
6 |  | 18.67 | 8 | 22.44 | 17.92 | 20.37 | 23.47 | 22.77 | 23.12 | 21.3 | 21.49 | 20.49 | 21.55 | 21.04 | 20.96 | 18.57 | 22.05 | 21.85 | 21.94 | 22.81 | 22.3 | 22.27 | 22.19 | 22.39 | 21.29 | 21.5 | 23.45 | 22.8 | 22.56 | 22.05 | 20.7 | 21.36 | 22.55 | 23.26 | 20.69 | 23.06 | 22.73
7 |  | 22.11 | 9 |  | 6.121 | 13.83 | 22.15 | 22.25 | 23.55 |  | 18.38 | 10.36 | 16.39 | 12.9 | 11.89 | 15.03 | 17.35 | 17.67 | 21.09 | 19.16 | 20.97 | 21.52 | 15.87 | 12.15 | 20.79 | 18.21 | 22.6 | 21.21 | 21.99 | 21.28 | 10.96 | 16.26 | 22.84 | 15.57 | 18.91 | 15.46 | 19.51
8 |  | 22.73 | 10 |  | 18.62 | 20.25 | 23.76 | 21.86 | 21.65 | 20.77 | 14.99 | 20.23 | 21.08 | 20.77 | 20.47 | 14.63 | 10.05 | 21.01 | 21.69 | 22.22 | 22.01 | 21.49 | 9.928 | 21.48 | 19.83 | 18.1 | 23.58 | 22.42 | 22.47 | 21.77 | 20.62 | 21.11 | 22.39 | 22.15 | 12.57 | 22.86 | 22.87
9 |  | 19.51
10 |  | 22.87
DIC std fr curve | 50mg/l | 49.6