## DOC Sept 2021
WHETS and BETS Dissolved Organic Carbon September 2021
System | TOC-VCPH
File Ver. | 2.1
User
Date of Creation | 2021-09-23 11:32
Comments
[System]
Detector | Combustion
Catalyst | Regular Sensitivity
ASI Tray | 40 mL Vials
[Data]
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Manual Dilution | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Conc. | Result | Excluded | Inj. Vol.
Unknown | NPOC | DOC std 20mg/l | new | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 12:58 | 1 | 1 | NPOC | 78.28 | 19.57 | NPOC:19.51mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | new | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:01 | 1 | 2 | NPOC | 77.84 | 19.46 | NPOC:19.51mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:09 | 1 | 1 | NPOC | 0.2411 | -0.00819 | NPOC:-0.01042mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:10 | 1 | 2 | NPOC | 0.2233 | -0.01265 | NPOC:-0.01042mg/L | 0 | 50
Unknown | NPOC | 1 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:18 | 1 | 1 | NPOC | 9.57 | 2.332 | NPOC:2.356mg/L | 0 | 50
Unknown | NPOC | 1 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:20 | 1 | 2 | NPOC | 9.761 | 2.38 | NPOC:2.356mg/L | 0 | 50
Unknown | NPOC | 1 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:28 | 1 | 1 | NPOC | 9.431 | 2.297 | NPOC:2.301mg/L | 0 | 50
Unknown | NPOC | 1 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:30 | 1 | 2 | NPOC | 9.461 | 2.304 | NPOC:2.301mg/L | 0 | 50
Unknown | NPOC | 1 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:38 | 1 | 1 | NPOC | 9.079 | 2.209 | NPOC:2.184mg/L | 0 | 50
Unknown | NPOC | 1 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:41 | 1 | 2 | NPOC | 8.665 | 2.105 | NPOC:2.184mg/L | 1 | 50
Unknown | NPOC | 1 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:43 | 1 | 3 | NPOC | 8.884 | 2.16 | NPOC:2.184mg/L | 0 | 50
Unknown | NPOC | 2 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:51 | 1 | 1 | NPOC | 8.517 | 2.068 | NPOC:2.076mg/L | 0 | 50
Unknown | NPOC | 2 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 13:53 | 1 | 2 | NPOC | 8.581 | 2.084 | NPOC:2.076mg/L | 0 | 50
Unknown | NPOC | 2 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:01 | 1 | 1 | NPOC | 8.411 | 2.041 | NPOC:2.051mg/L | 0 | 50
Unknown | NPOC | 2 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:03 | 1 | 2 | NPOC | 8.491 | 2.061 | NPOC:2.051mg/L | 0 | 50
Unknown | NPOC | 2 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:11 | 1 | 1 | NPOC | 7.498 | 1.812 | NPOC:1.794mg/L | 0 | 50
Unknown | NPOC | 2 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:13 | 1 | 2 | NPOC | 7.357 | 1.777 | NPOC:1.794mg/L | 0 | 50
Unknown | NPOC | 3 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:21 | 1 | 1 | NPOC | 7.624 | 1.844 | NPOC:1.842mg/L | 0 | 50
Unknown | NPOC | 3 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:23 | 1 | 2 | NPOC | 7.607 | 1.839 | NPOC:1.842mg/L | 0 | 50
Unknown | NPOC | 3 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:31 | 1 | 1 | NPOC | 9.454 | 2.303 | NPOC:1.813mg/L | 1 | 50
Unknown | NPOC | 3 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:33 | 1 | 2 | NPOC | 7.425 | 1.794 | NPOC:1.813mg/L | 0 | 50
Unknown | NPOC | 3 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:35 | 1 | 3 | NPOC | 7.576 | 1.832 | NPOC:1.813mg/L | 0 | 50
Unknown | NPOC | 3 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:43 | 1 | 1 | NPOC | 7.637 | 1.847 | NPOC:1.833mg/L | 0 | 50
Unknown | NPOC | 3 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:45 | 1 | 2 | NPOC | 7.53 | 1.82 | NPOC:1.833mg/L | 0 | 50
Unknown | NPOC | 4 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:53 | 1 | 1 | NPOC | 7.999 | 1.938 | NPOC:1.929mg/L | 0 | 50
Unknown | NPOC | 4 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 14:55 | 1 | 2 | NPOC | 7.932 | 1.921 | NPOC:1.929mg/L | 0 | 50
Unknown | NPOC | 4 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:03 | 1 | 1 | NPOC | 6.989 | 1.684 | NPOC:1.685mg/L | 0 | 50
Unknown | NPOC | 4 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:04 | 1 | 2 | NPOC | 6.995 | 1.686 | NPOC:1.685mg/L | 0 | 50
Unknown | NPOC | 4 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:12 | 1 | 1 | NPOC | 6.52 | 1.567 | NPOC:1.562mg/L | 0 | 50
Unknown | NPOC | 4 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:14 | 1 | 2 | NPOC | 6.48 | 1.557 | NPOC:1.562mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:23 | 1 | 1 | NPOC | 76.94 | 19.23 | NPOC:19.20mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:25 | 1 | 2 | NPOC | 76.69 | 19.17 | NPOC:19.20mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:33 | 1 | 1 | NPOC | 0.179 | -0.02376 | NPOC:-0.02371mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:34 | 1 | 2 | NPOC | 0.1794 | -0.02366 | NPOC:-0.02371mg/L | 0 | 50
Unknown | NPOC | 5 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:42 | 1 | 1 | NPOC | 6.728 | 1.619 | NPOC:1.606mg/L | 0 | 50
Unknown | NPOC | 5 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:44 | 1 | 2 | NPOC | 6.629 | 1.594 | NPOC:1.606mg/L | 0 | 50
Unknown | NPOC | 5 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:52 | 1 | 1 | NPOC | 5.365 | 1.277 | NPOC:1.269mg/L | 0 | 50
Unknown | NPOC | 5 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 15:54 | 1 | 2 | NPOC | 5.304 | 1.262 | NPOC:1.269mg/L | 0 | 50
Unknown | NPOC | 5 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:02 | 1 | 1 | NPOC | 5.131 | 1.218 | NPOC:1.220mg/L | 0 | 50
Unknown | NPOC | 5 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:04 | 1 | 2 | NPOC | 5.144 | 1.222 | NPOC:1.220mg/L | 0 | 50
Unknown | NPOC | 6 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:12 | 1 | 1 | NPOC | 7.542 | 1.823 | NPOC:1.813mg/L | 0 | 50
Unknown | NPOC | 6 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:14 | 1 | 2 | NPOC | 7.459 | 1.802 | NPOC:1.813mg/L | 0 | 50
Unknown | NPOC | 6 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:22 | 1 | 1 | NPOC | 6.803 | 1.638 | NPOC:1.630mg/L | 0 | 50
Unknown | NPOC | 6 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:24 | 1 | 2 | NPOC | 6.744 | 1.623 | NPOC:1.630mg/L | 0 | 50
Unknown | NPOC | 6 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:32 | 1 | 1 | NPOC | 6.556 | 1.576 | NPOC:1.489mg/L | 1 | 50
Unknown | NPOC | 6 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:34 | 1 | 2 | NPOC | 6.181 | 1.482 | NPOC:1.489mg/L | 0 | 50
Unknown | NPOC | 6 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:35 | 1 | 3 | NPOC | 6.237 | 1.496 | NPOC:1.489mg/L | 0 | 50
Unknown | NPOC | 7 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:43 | 1 | 1 | NPOC | 7.27 | 1.755 | NPOC:1.757mg/L | 0 | 50
Unknown | NPOC | 7 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:45 | 1 | 2 | NPOC | 7.291 | 1.76 | NPOC:1.757mg/L | 0 | 50
Unknown | NPOC | 7 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:53 | 1 | 1 | NPOC | 6.205 | 1.488 | NPOC:1.493mg/L | 0 | 50
Unknown | NPOC | 7 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 16:55 | 1 | 2 | NPOC | 6.251 | 1.499 | NPOC:1.493mg/L | 0 | 50
Unknown | NPOC | 7 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:03 | 1 | 1 | NPOC | 5.579 | 1.331 | NPOC:1.297mg/L | 1 | 50
Unknown | NPOC | 7 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:05 | 1 | 2 | NPOC | 5.415 | 1.29 | NPOC:1.297mg/L | 0 | 50
Unknown | NPOC | 7 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:07 | 1 | 3 | NPOC | 5.475 | 1.305 | NPOC:1.297mg/L | 0 | 50
Unknown | NPOC | 8 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:15 | 1 | 1 | NPOC | 5.484 | 1.307 | NPOC:1.308mg/L | 0 | 50
Unknown | NPOC | 8 | upper | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:16 | 1 | 2 | NPOC | 5.495 | 1.31 | NPOC:1.308mg/L | 0 | 50
Unknown | NPOC | 8 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:24 | 1 | 1 | NPOC | 5.402 | 1.286 | NPOC:1.289mg/L | 0 | 50
Unknown | NPOC | 8 | mid | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:26 | 1 | 2 | NPOC | 5.422 | 1.291 | NPOC:1.289mg/L | 0 | 50
Unknown | NPOC | 8 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:34 | 1 | 1 | NPOC | 4.613 | 1.088 | NPOC:1.091mg/L | 0 | 50
Unknown | NPOC | 8 | bottom | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:36 | 1 | 2 | NPOC | 4.636 | 1.094 | NPOC:1.091mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:45 | 1 | 1 | NPOC | 76.13 | 19.03 | NPOC:19.05mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:47 | 1 | 2 | NPOC | 76.34 | 19.08 | NPOC:19.05mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:55 | 1 | 1 | NPOC | 0.2841 | 0.0026 | NPOC:-0.00876mg/L | 0 | 50
Unknown | NPOC | DIW |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 17:56 | 1 | 2 | NPOC | 0.1935 | -0.02013 | NPOC:-0.00876mg/L | 0 | 50
Unknown | NPOC | 1 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:04 | 1 | 1 | NPOC | 11.93 | 2.924 | NPOC:2.944mg/L | 0 | 50
Unknown | NPOC | 1 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:06 | 1 | 2 | NPOC | 12.09 | 2.964 | NPOC:2.944mg/L | 0 | 50
Unknown | NPOC | 2 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:14 | 1 | 1 | NPOC | 11.3 | 2.766 | NPOC:2.743mg/L | 0 | 50
Unknown | NPOC | 2 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:16 | 1 | 2 | NPOC | 11.12 | 2.721 | NPOC:2.743mg/L | 0 | 50
Unknown | NPOC | 3 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:24 | 1 | 1 | NPOC | 10.15 | 2.477 | NPOC:2.476mg/L | 0 | 50
Unknown | NPOC | 3 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:26 | 1 | 2 | NPOC | 10.14 | 2.475 | NPOC:2.476mg/L | 0 | 50
Unknown | NPOC | 4 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:34 | 1 | 1 | NPOC | 9.635 | 2.348 | NPOC:2.342mg/L | 0 | 50
Unknown | NPOC | 4 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:36 | 1 | 2 | NPOC | 9.584 | 2.335 | NPOC:2.342mg/L | 0 | 50
Unknown | NPOC | 5 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:45 | 1 | 1 | NPOC | 10.39 | 2.537 | NPOC:2.521mg/L | 0 | 50
Unknown | NPOC | 5 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:47 | 1 | 2 | NPOC | 10.26 | 2.505 | NPOC:2.521mg/L | 0 | 50
Unknown | NPOC | 6 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:55 | 1 | 1 | NPOC | 10.71 | 2.618 | NPOC:2.611mg/L | 0 | 50
Unknown | NPOC | 6 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 18:56 | 1 | 2 | NPOC | 10.66 | 2.605 | NPOC:2.611mg/L | 0 | 50
Unknown | NPOC | 7 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:05 | 1 | 1 | NPOC | 9.921 | 2.42 | NPOC:2.431mg/L | 0 | 50
Unknown | NPOC | 7 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:07 | 1 | 2 | NPOC | 10.01 | 2.442 | NPOC:2.431mg/L | 0 | 50
Unknown | NPOC | 8 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:15 | 1 | 1 | NPOC | 8.607 | 2.09 | NPOC:2.081mg/L | 0 | 50
Unknown | NPOC | 8 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:16 | 1 | 2 | NPOC | 8.534 | 2.072 | NPOC:2.081mg/L | 0 | 50
Unknown | NPOC | 9 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:25 | 1 | 1 | NPOC | 10.27 | 2.507 | NPOC:2.511mg/L | 0 | 50
Unknown | NPOC | 9 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:27 | 1 | 2 | NPOC | 10.3 | 2.515 | NPOC:2.511mg/L | 0 | 50
Unknown | NPOC | 10 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:35 | 1 | 1 | NPOC | 15.7 | 3.869 | NPOC:3.859mg/L | 0 | 50
Unknown | NPOC | 10 | Wickford Harbor | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:37 | 1 | 2 | NPOC | 15.62 | 3.849 | NPOC:3.859mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | new | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:46 | 1 | 1 | NPOC | 77.6 | 19.4 | NPOC:19.38mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | new | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:48 | 1 | 2 | NPOC | 77.5 | 19.37 | NPOC:19.38mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:57 | 1 | 1 | NPOC | 76.9 | 19.22 | NPOC:19.17mg/L | 0 | 50
Unknown | NPOC | DOC std 20mg/l | old | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.cal | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal | 1 |  | 2021-09-23 19:59 | 1 | 2 | NPOC | 76.53 | 19.13 | NPOC:19.17mg/L | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 11:41 | 1 | 1 | NPOC | 79.83 | 20 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 11:43 | 1 | 2 | NPOC | 80.16 | 20 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 11:51 | 2 | 1 | NPOC | 40.38 | 10 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 11:54 | 2 | 2 | NPOC | 39.78 | 10 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:01 | 3 | 1 | NPOC | 20.53 | 5 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:04 | 3 | 2 | NPOC | 20.28 | 5 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:11 | 4 | 1 | NPOC | 8.155 | 2 |  | 1 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:14 | 4 | 2 | NPOC | 8.444 | 2 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:16 | 4 | 3 | NPOC | 8.304 | 2 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:23 | 5 | 1 | NPOC | 5.359 | 1.333 |  | 0 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:25 | 5 | 2 | NPOC | 5.718 | 1.333 |  | 1 | 50
Standard | NPOC |  |  | C:\TOC3201\CalCurves\DOC Sept 2021 RJ.2021_09_23_11_32_21.cal |  | 1 |  | 2021-09-23 12:27 | 5 | 3 | NPOC | 5.322 | 1.333 |  | 0 | 50

## Sheet1
WHETS and BETS Dissolved Organic Carbon September 2021
Sample Name | Sample ID | Result
DOC std 20mg/l | new | 19.51 | station | 2018-04-18 | 2018-05-18 | 2018-06-18 | 2018-07-18 | 2018-08-18 | 2018-09-18 | 2018-10-18 | 2018-11-18 | 2018-12-18 | 2019-02-19 | 2019-03-19 | 2019-04-19 | 2019-05-19 | 2019-06-19 | 2019-07-19 | 2019-08-19 | 2019-09-19 | 2019-10-19 | 2019-11-19 | 2019-12-19 | 2020-01-02 14:48 | 2020-02-01 | 2020-03-01 | 2020-07-01 | 2020-08-20 | 2020-09-01 | 2020-10-20 | 2020-11-20 | 2020-12-20 | 2021-01-01 | 2021-02-01 | 2021-03-21 | 2021-04-01 | 2021-05-21 | 2021-07-01 | 2021-08-01 | 2021-09-01
DOC std 20mg/l | new | 19.51 | 1 | 1.626 | 1.756 | 2.56 | 3.088 | 3.485 | 3.189 | 2.722 | 2.749 | 2.709 | 1.663 | 1.923 | 3.4 | 3.6 | 2.828 | 2.449 | 3.04 | 2.353 | 2.386 | 1.812 | 2.16 | 2.617 | 1.68 | 1.728 | 3.167 | 2.679 | 2.072 | 2.038 | 2.297 | 1.83 | 1.781 | 1.345 | 1.801 | 2.053 | 2.518 | 3.105 | 2.988 | 2.944
DIW |  | -0.01042 | 2 | 1.391 | 1.564 | 2.475 | 2.785 | 3.362 | 2.458 | 2.488 | 2.47 | 2.436 | 1.521 | 1.574 | 2.614 | 2.904 | 2.655 | 2.266 | 2.699 | 2.007 | 1.725 | 1.701 | 1.813 | 1.79 | 1.647 |  | 2.482 | 2.438 | 1.966 | 1.985 | 2.186 | 2.021 | 1.79 | 1.258 | 1.685 | 1.972 | 2.345 | 2.782 | 2.661 | 2.743
DIW |  | -0.01042 | 3 | 1.249 | 1.535 | 2.333 | 2.415 | 2.682 | 2.414 | 2.241 | 2.107 | 2.185 | 1.56 | 1.517 | 2.208 | 2.54 | 2.378 | 2.386 | 2.62 | 1.929 | 1.615 | 1.698 | 1.908 | 1.715 | 1.61 | 1.583 | 2.651 | 2.579 | 1.993 | 1.877 | 2.079 | 1.863 | 1.741 | 1.159 | 2.086 | 1.942 | 2.153 | 2.647 | 2.536 | 2.476
DOC std 20mg/l | old | 19.05 | 4 | 1.475 | 1.55 | 2.23 | 2.533 | 2.674 | 2.433 | 2.195 | 1.942 | 2.062 | 1.568 | 1.521 | 1.94 | 2.457 | 2.408 | 2.193 | 2.476 | 1.869 | 1.595 | 1.746 | 1.914 | 1.706 | 1.641 |  | 2.78 | 2.527 | 1.957 | 1.901 | 2.18 | 1.78 | 1.752 | 1.121 | 1.64 | 1.871 | 2.081 | 2.639 | 2.404 | 2.342
1 | Wickford Harbor | 2.944 | 5 | 1.55 | 1.705 | 2.897 | 2.838 | 2.932 | 3.419 | 3.363 | 2.747 | 2.449 | 1.747 | 1.968 | 1.88 | 2.108 | 3.084 | 2.611 | 2.959 | 2.387 | 1.613 | 1.822 | 1.949 | 1.838 | 1.78 | 1.776 | 3.138 | 2.696 | 2.323 | 2.374 | 1.832 | 1.778 | 1.789 | 1.661 | 2.108 | 2.573 | 3.367 | 3.251 | 3.079 | 2.521
2 | Wickford Harbor | 2.743 | 6 | 1.416 | 1.622 | 2.501 | 3.198 | 2.748 | 2.587 | 2.06 | 2.951 | 1.918 | 1.681 | 1.707 | 1.961 | 2.285 | 3.286 | 2.603 | 2.85 | 2.189 | 1.704 | 1.831 | 3.086 | 1.792 | 1.819 | 1.794 | 2.63 | 2.59 | 2.319 | 1.964 | 1.835 | 1.843 | 1.881 | 1.21 | 2.384 | 2.102 | 3.046 | 2.994 | 2.835 | 2.611
3 | Wickford Harbor | 2.476 | 7 | 1.38 | 1.462 | 2.212 | 2.539 | 3.493 | 2.504 | 2.148 | 1.935 | 2.151 | 1.521 | 1.552 | 2.066 | 2.375 | 2.445 | 2.146 | 2.425 | 1.803 | 1.389 | 1.734 | 1.818 | 1.726 | 1.597 | 1.679 | 3.111 | 2.611 | 2.041 | 1.909 | 1.887 | 1.755 | 1.801 | 1.079 | 2.125 | 1.809 | 2.07 | 2.606 | 2.576 | 2.431
4 | Wickford Harbor | 2.342 | 8 | 1.345 | 1.515 | 2.138 | 2.176 | 2.654 | 2.235 | 2.139 | 1.623 | 2.191 | 1.423 | 1.493 | 1.806 | 2.059 | 2.102 | 2.242 | 2.178 | 1.969 | 1.445 | 1.692 | 1.725 | 1.612 | 1.572 | 1.451 | 2.133 | 2.533 | 1.918 | 1.829 | 2.353 | 1.793 | 1.695 | 1.048 | 1.85 | 1.825 | 1.965 | 2.667 | 2.527 | 2.081
5 | Wickford Harbor | 2.521 | 9 |  |  | 4.869 | 3.331 | 2.863 | 2.636 |  | 4.961 | 3.974 | 1.727 | 2.378 | 4.561 | 3.445 | 3.797 | 2.968 | 2.969 | 2.352 | 1.808 | 1.956 | 2.237 | 3.842 | 1.673 | 1.676 | 4.178 | 14.28 | 2.12 | 2.055 | 7.617 | 2.511 | 1.898 | 2.211 | 2.107 | 2.991 | 2.358 | 7.8 | 2.844 | 2.511
6 | Wickford Harbor | 2.611 | 10 |  | 1.522 | 2.256 | 2.176 | 3.445 | 2.753 | 3.437 |  | 2.142 | 1.532 | 1.747 | 2.321 | 4.541 | 6.525 | 2.43 | 3.801 | 1.966 | 1.829 | 1.903 | 5.999 | 1.773 | 1.839 | 2.119 | 2.237 | 4.095 | 1.941 | 2.101 | 2.12 | 1.863 | 1.932 | 1.393 | 3.058 | 1.964 | 2.016 | 6.775 | 2.552 | 3.859
7 | Wickford Harbor | 2.431
8 | Wickford Harbor | 2.081
9 | Wickford Harbor | 2.511
10 | Wickford Harbor | 3.859
DOC std 20mg/l | new | 19.38
DOC std 20mg/l | old | 19.17